## Innovation in Action: The Expanding Role of Real-World Evidence and In Silico Evidence

Link: https://themedtechconference.com/2025-schedule/?schedule_preset=session%3A3172903%3Adates%3A2025-10-08%3Atags%3Atype-panel-session#session:3105489:dates:2025-10-07:tags:type-panel-session

Executive Summary

This panel explored how real-world evidence (RWE) and in silico evidence (computational modeling and simulation) are transforming how medical devices are developed, evaluated, approved, and monitored. These complementary evidence types are helping address growing device complexity, accelerate innovation, improve regulatory efficiency, and support better patient outcomes across the entire product lifecycle.

1. Why New Evidence Approaches Are Needed

Medical technologies are evolving rapidly, driven by AI, connected devices, imaging, and advanced implants. Traditional clinical trials alone are often insufficient because they:

- Are slow, costly, and limited in scope

- Cannot capture rare events or diverse real-world patient populations

- Cannot fully evaluate device performance under all real-world conditions

New evidence approaches fill these gaps by leveraging real-world clinical data and advanced computational simulations.

Key goals:

- Support regulatory approval and reimbursement

- Enable faster and safer innovation

- Improve clinician and patient confidence

- Enable ongoing product evaluation after launch

2. Real-World Evidence (RWE): Definition and Role

What is Real-World Evidence

RWE is clinical evidence derived from data collected during routine healthcare or patient use, including:

- Electronic health records (EHRs)

- Insurance claims

- Device registries

- Imaging data

- Wearables and connected devices

- Patient-reported outcomes

RWE uses rigorous study design and statistical methods to generate reliable clinical evidence.

How RWE is Used Across the Device Lifecycle

Pre-market uses

- Supplement or replace clinical trial data

- Provide safety and performance evidence

- Support regulatory approval

Post-market uses

- Monitor safety and effectiveness

- Detect rare complications

- Support labeling expansions

- Enable continuous learning systems

Strategic value

RWE supports the concept of a Total Product Lifecycle (TPLC) approach, where evidence is continuously generated rather than relying solely on pre-market trials.

Global Adoption and Regulatory Progress

RWE acceptance has expanded significantly worldwide since initial FDA guidance in 2017.

Countries actively adopting or advancing RWE include:

- United States

- China

- South Korea

- Switzerland

- Saudi Arabia

- Singapore

- United Kingdom

- Australia

- European Union

Regulators increasingly recognize RWE as valid evidence for:

- Regulatory approval

- Post-market surveillance

- Coverage and reimbursement decisions

3. Key Challenges Limiting RWE Adoption

A. Data Quality and Reliability

Major barriers include:

- Inconsistent data collection

- Missing or inaccurate information

- Difficulty identifying specific device use

- Lack of standardized formats

Improving data quality is the top priority.

B. Hesitancy Among Stakeholders

There is mutual hesitation between:

- Device manufacturers

- Regulators

- Researchers

Concerns include:

- Scientific rigor

- Regulatory acceptance

- Consistency of review

This hesitancy slows adoption.

C. Device Identification and Data Integration Challenges

Medical devices are harder to track than drugs due to:

- Limited use of Unique Device Identifiers (UDI) in clinical systems

- Fragmented data sources

- Difficulty linking device usage to outcomes

Improving UDI implementation is critical.

4. Solutions and Infrastructure: NEST and MDIC Initiatives

The Medical Device Innovation Consortium (MDIC) and its National Evaluation System for health Technology (NEST) are developing infrastructure to enable reliable RWE.

Key initiatives include:

A. RWE Marketplace

A platform connecting device companies with trusted:

- Data providers

- Analytics partners

- Research organizations

Purpose:

- Improve transparency

- Ensure consistent standards

- Build trust in data sources

B. Data Quality Framework

Provides standardized guidance for:

- Assessing reliability of datasets

- Ensuring scientific rigor

- Supporting regulatory submissions

C. Research Methods Framework

Defines best practices for:

- Study design

- Statistical methods

- Evidence generation

These frameworks reduce uncertainty and improve regulatory confidence.

D. Nest Mark Process

A structured workflow standardizing how RWE is generated, evaluated, and submitted to regulators.

Benefits:

- Improves consistency

- Reduces review time

- Improves regulatory confidence

5. In Silico Evidence: Computational Modeling and Simulation

Definition

In silico evidence refers to using computer simulations to model device performance, human physiology, and clinical outcomes.

These simulations integrate:

- Engineering data

- Patient imaging

- Biomechanics

- Clinical data

- Manufacturing data

Applications Across Product Lifecycle

Early concept development

- Evaluate feasibility

- Identify promising designs

- Reduce costly failures

Design and engineering

- Optimize performance

- Reduce physical prototypes

Design verification and validation

- Identify worst-case scenarios

- Reduce physical testing

Regulatory submissions

- Provide performance evidence

- Supplement clinical and bench data

Post-market analysis

- Investigate failures

- Support product improvements

Example: Orthopedic Implant Simulation

Simulations model:

- Joint movement

- Implant stress and wear

- Patient-specific anatomy

- Surgical alignment scenarios

These simulations enable virtual clinical trials across many patient scenarios that would be impossible physically.

Efficiency Benefits

Example provided:

- Traditional simulation: 10 hours on CPUs

- AI-accelerated simulation: 30 seconds

This enables massive scalability.

6. Regulatory Acceptance of Computational Modeling

The FDA has issued guidance supporting modeling and simulation use, including:

- 2016: Reporting of computational modeling studies

- 2023: Credibility assessment framework

Standards like ASME V&V 40 provide credibility criteria.

These frameworks ensure models are:

- Validated

- Reliable

- Transparent

- Suitable for regulatory use

7. Complementary Roles of RWE and In Silico Evidence

These two approaches reinforce each other.

| Real-World Evidence | In Silico Evidence |
| --- | --- |
| Uses real patient data | Uses simulated patient data |
| Observes actual outcomes | Predicts potential outcomes |
| Detects rare or long-term effects | Evaluates many hypothetical scenarios |
| Supports post-market surveillance | Supports early development and optimization |
| Slower but real | Faster but model-based |

Together they create a stronger, continuous evidence ecosystem.

8. Role of Public-Private Partnerships

Collaborations between regulators, industry, and research groups are critical.

Benefits include:

- Developing standards

- Building trust

- Accelerating innovation

- Aligning expectations

Organizations like MDIC and NEST enable collaborative problem solving in a neutral environment.

9. Strategic Vision: Continuous Evidence Generation

The future of device evaluation is shifting from episodic evidence (single trials) to continuous evidence generation using:

- Clinical trials

- Real-world data

- Computational modeling

- AI and machine learning

This enables:

- Faster approvals

- Safer devices

- Continuous improvement

- Personalized medicine

10. Key Takeaways

Major Transformation Underway

Evidence generation for medical devices is undergoing a fundamental shift.

Real-World Evidence Enables Continuous Monitoring

RWE provides ongoing safety and performance insights.

Computational Modeling Accelerates Innovation

Simulations reduce development time, cost, and risk.

Regulators Increasingly Accept These Methods

Guidance, frameworks, and standards are being established.

Data Quality and Trust Are Critical Challenges

Standardization and infrastructure are essential.

Public-Private Partnerships Are Essential

Collaborative ecosystems drive progress.

Bottom Line

Real-world evidence and in silico evidence are transforming medical device innovation by enabling faster development, smarter regulatory decisions, continuous safety monitoring, and improved patient outcomes. These methods complement traditional clinical trials and are becoming core pillars of the modern regulatory and innovation ecosystem.