Software Description Document

Device Name:
 Device Model/Version:
 Manufacturer:
 Document Number:
 Submission Type:  De Novo, 510(k), …
 Previous Submission Reference (if applicable):
 Date:

1. Overview

1.1 Purpose and Scope

Provide a concise overview of the software’s function as it relates to the medical device’s intended use. Describe whether this software is standalone or part of a hardware system.

1.2 Significant Features and Capabilities

- Summarize key functional modules.

- Highlight novel or safety-critical features.

- Include diagrams (architecture, flowcharts, or state diagrams) to illustrate system behavior or workflows.
 (Attach graphics as appendices if needed.)

1.3 Changes Since Previous Submission (for modified devices)

- Document number of the previous submission.

- Overview of software modifications.

- Summary of changes impacting safety or effectiveness.

2. Software Operation

2.1 Role in Device Functionality

Explain the software’s role:

- Software-only device

- Software controlling device hardware

- Companion application (e.g., data analysis, patient monitoring)

2.2 Intended Users

Identify who will interact with the software:

- Patient

- Caregiver

- Healthcare professional

- Combination

2.3 Intended Patient Population

- Specify disease, condition, or demographic focus.

- Clarify if the software supports diagnosis, monitoring, or treatment.

2.4 Analysis Methodology

If applicable:

- Describe whether analysis uses rule-based calculations, AI/ML algorithms, neural networks, or adaptive methods.

- Include assumptions, learning constraints, or algorithmic limits.

2.5 AI/ML Details (if applicable)

- Methods, Models, and Frameworks: Specify ML framework (e.g., TensorFlow, PyTorch).

- Training Data: Describe dataset characteristics, collection method, and representativeness.

- Bias Mitigation: Summarize steps to identify and address model bias.

- Transparency and Explainability: Outline user-facing information about model performance and limitations.

3. Software Specifics

3.1 Hardware Platforms

List hardware components required for operation (e.g., embedded controller, PC, tablet, mobile phone).

3.2 Software Platforms

- Operating system(s)

- Development frameworks and runtime environments

- Database or middleware dependencies

3.3 Hosting Environment

Describe deployment context:

- On-premise (hospital networks, standalone devices)

- Cloud infrastructure (list provider and purpose such as data processing or storage)

3.4 Off-the-Shelf (OTS) and Third-Party Components

- List all OTS or open-source software.

- Include version and source.

- Reference the Software Bill of Materials (SBOM), if available.

3.5 Software Versioning

State the final release version intended for users and any differences from documentation versions.

3.6 Interoperability

- Identify connected systems, devices, or software.

- Define communication standards (e.g., HL7, DICOM, Bluetooth).

- Explain how interoperability impacts function or safety.

4. Software Inputs and Outputs

4.1 Inputs

- Define all inputs (e.g., images, signals, numerical data, clinician entries).

- Specify format, type, and unit of measure.

- Identify input sources (e.g., sensors, users, external databases).

4.2 Outputs

- Describe outputs generated and their format.

- Clarify recipients (e.g., patient display, EHR system, healthcare professional).

- Include use cases, alerts, or reports that guide clinical decisions.

4.3 Clinical Workflow and Automation

- Describe actions replaced or influenced by the software.

- Include steps in clinical workflow from input to end state.

- Provide associated assumptions and limitations.

5. Architecture, Flow, and States

Include diagrams as needed:

- System Architecture Diagram: High-level software architecture, subsystems, and interfaces.

- Flow Diagram: Logical flow of data and processes.

- State Diagram: Software response to events and transitions.

6. References

- Software Requirements Specification (SRS), document number and section references.

- User manuals or design specifications for cross-reference.

- Related FDA guidance followed.

7. Appendices

- Appendix A: Flowcharts and Diagrams

- Appendix B: Software Bill of Materials (SBOM)

- Appendix C: AI/ML Model Documentation Summary

- Appendix D: Cybersecurity Architecture Diagram (if applicable)

Would you like me to format this as a fillable template in Word/document form (with prompts and placeholders), or keep it as a clean narrative structure for direct inclusion in a technical submission?